## headers
filename | experiment_file_name | experiment_name | experiment_run_end_time | experiment_type | instrument_name | instrument_serial_number | instrument_type | passive_reference | quantification_cycle_method
2023-01-10_105135 FS SB18 FAN1.xls | D:\Users\INSTR-ADMIN\Desktop\Freja\2023-01-10_105135 FS SB18 FAN1.eds | 2023-01-10_105135 FS SB18 FAN1 | 2023-01-10 19:27:17 PM GMT | Comparative Cт (ΔΔCт) | 272510542 | 272510542 | QuantStudio™ 5 System | ROX | Ct
2023-01-10_120839 FS SB18 FAN1 2.xls | D:\Users\INSTR-ADMIN\Desktop\Freja\2023-01-10_120839 FS SB18 FAN1 2.eds | 2023-01-10_120839 FS SB18 FAN1 2 | 2023-01-10 20:35:11 PM GMT | Comparative Cт (ΔΔCт) | 272510542 | 272510542 | QuantStudio™ 5 System | ROX | Ct

## ct
filename | well | well_short | well_n | row | col | omit | sample_name | target_name | task | reporter | quencher | quantity | quantity_mean | quantity_sd | rq | rq_min | rq_max | ct | ct_mean | ct_sd | delta_ct | delta_ct_mean | delta_ct_sd | delta_ct_se | delta_delta_ct | automatic_ct_threshold | ct_threshold | automatic_baseline | baseline_start | baseline_end | amp_status | comments | ct_conf | tholdfail | ctconf | expfail | ampnc | drnmin | noise | noamp
2023-01-10_105135 FS SB18 FAN1.xls | A01 | A1 | 1 | A | 1 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 32.2125244140625 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 16 | Inconclusive | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A01 | A1 | 1 | A | 1 | FALSE | CON1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.8811 | 15.83780574798584 | 0.07719874382019043 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.94806462497857891 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A02 | A2 | 2 | A | 2 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 32.2125 | 32.2125244140625 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 22 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A02 | A2 | 2 | A | 2 | FALSE | CON1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.7487 | 15.83780574798584 | 0.07719874382019043 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.93527647188205076 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A03 | A3 | 3 | A | 3 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 32.2125244140625 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 27 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A03 | A3 | 3 | A | 3 | FALSE | CON1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.8837 | 15.83780574798584 | 0.07719874382019043 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.94357703993012032 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A04 | A4 | 4 | A | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 16 | Amp | #N/A | 0 | Y | N | N | Y | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A04 | A4 | 4 | A | 4 | FALSE | no cDNA | GAPDH | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.5859 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 20 | No Amp | #N/A | 0 | N | N | N | Y | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A05 | A5 | 5 | A | 5 | FALSE | Water only | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A05 | A5 | 5 | A | 5 | FALSE | Water only | GAPDH | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A06 | A6 | 6 | A | 6 | FALSE | CON1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.437 | 17.694950103759766 | 0.22405919432640076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 14 | Amp | #N/A | 0.88768089242051595 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A06 | A6 | 6 | A | 6 | FALSE | CON1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1 | 0.93191462755203247 | 1.0730596780776978 | 19.1573 | 19.368034362792969 | 0.18310731649398804 | 1.7202320098876953 | 1.6730855703353882 | 0.040951963514089584 | 0.023643627762794495 | 0 | TRUE | 0.17551118240021368 | TRUE | 3 | 14 | Amp | #N/A | 0.85671431106132379 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A07 | A7 | 7 | A | 7 | FALSE | CON1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.8416 | 17.694950103759766 | 0.22405919432640076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 14 | Amp | #N/A | 0.91635986875837105 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A07 | A7 | 7 | A | 7 | FALSE | CON1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1 | 0.93191462755203247 | 1.0730596780776978 | 19.488 | 19.368034362792969 | 0.18310731649398804 | 1.6463546752929688 | 1.6730855703353882 | 0.040951963514089584 | 0.023643627762794495 | 0 | TRUE | 0.17551118240021368 | TRUE | 3 | 14 | Amp | #N/A | 0.91745507283633887 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A08 | A8 | 8 | A | 8 | FALSE | CON1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.8062 | 17.694950103759766 | 0.22405919432640076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 13 | Amp | #N/A | 0.9263951523088183 | N | N | N | N | N | Y | N
2023-01-10_105135 FS SB18 FAN1.xls | A08 | A8 | 8 | A | 8 | FALSE | CON1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1 | 0.93191462755203247 | 1.0730596780776978 | 19.4589 | 19.368034362792969 | 0.18310731649398804 | 1.6526699066162109 | 1.6730855703353882 | 0.040951963514089584 | 0.023643627762794495 | 0 | TRUE | 0.17551118240021368 | TRUE | 3 | 15 | Amp | #N/A | 0.90169021128625715 | N | N | N | N | N | Y | N
2023-01-10_105135 FS SB18 FAN1.xls | A09 | A9 | 9 | A | 9 | FALSE | no cDNA | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 19 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A09 | A9 | 9 | A | 9 | FALSE | no cDNA | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 23 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A10 | A10 | 10 | A | 10 | FALSE | Water only | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | A10 | A10 | 10 | A | 10 | FALSE | Water only | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B01 | B1 | 13 | B | 1 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 9 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B01 | B1 | 13 | B | 1 | FALSE | SCR1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.9743 | 15.984667778015137 | 0.062844105064868927 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.95044591490059949 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B02 | B2 | 14 | B | 2 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 20 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B02 | B2 | 14 | B | 2 | FALSE | SCR1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.9276 | 15.984667778015137 | 0.062844105064868927 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.94932054574041935 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B03 | B3 | 15 | B | 3 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 23 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B03 | B3 | 15 | B | 3 | FALSE | SCR1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.052 | 15.984667778015137 | 0.062844105064868927 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.94636661944089162 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B04 | B4 | 16 | B | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 14 | Inconclusive | #N/A | 0 | Y | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B04 | B4 | 16 | B | 4 | FALSE | no cDNA | GAPDH | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 15 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B05 | B5 | 17 | B | 5 | FALSE | Water only | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B05 | B5 | 17 | B | 5 | FALSE | Water only | GAPDH | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B06 | B6 | 18 | B | 6 | FALSE | SCR1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.9565 | 17.99028205871582 | 0.030241765081882477 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 13 | Amp | #N/A | 0.90632806690756884 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B06 | B6 | 18 | B | 6 | FALSE | SCR1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0786030292510986 | 0.72517901659011841 | 1.6042720079421997 | 19.2745 | 19.554204940795898 | 0.26054388284683228 | 1.3180141448974609 | 1.5639215707778931 | 0.23056486248970032 | 0.13311667740345001 | -0.10916391760110855 | TRUE | 0.17551118240021368 | TRUE | 3 | 14 | Amp | #N/A | 0.91217102822933804 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B07 | B7 | 19 | B | 7 | FALSE | SCR1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.9996 | 17.99028205871582 | 0.030241765081882477 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 15 | Amp | #N/A | 0.90152348441045072 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B07 | B7 | 19 | B | 7 | FALSE | SCR1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0786030292510986 | 0.72517901659011841 | 1.6042720079421997 | 19.5981 | 19.554204940795898 | 0.26054388284683228 | 1.5985164642333984 | 1.5639215707778931 | 0.23056486248970032 | 0.13311667740345001 | -0.10916391760110855 | TRUE | 0.17551118240021368 | TRUE | 3 | 16 | Amp | #N/A | 0.89857939338929271 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B08 | B8 | 20 | B | 8 | FALSE | SCR1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18.0148 | 17.99028205871582 | 0.030241765081882477 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 15 | Amp | #N/A | 0.90472143419454032 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B08 | B8 | 20 | B | 8 | FALSE | SCR1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0786030292510986 | 0.72517901659011841 | 1.6042720079421997 | 19.79 | 19.554204940795898 | 0.26054388284683228 | 1.7752342224121094 | 1.5639215707778931 | 0.23056486248970032 | 0.13311667740345001 | -0.10916391760110855 | TRUE | 0.17551118240021368 | TRUE | 3 | 17 | Amp | #N/A | 0.88946324932908205 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B09 | B9 | 21 | B | 9 | FALSE | no cDNA | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 20 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B09 | B9 | 21 | B | 9 | FALSE | no cDNA | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 20 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B10 | B10 | 22 | B | 10 | FALSE | Water only | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | B10 | B10 | 22 | B | 10 | FALSE | Water only | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C01 | C1 | 25 | C | 1 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 29 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C01 | C1 | 25 | C | 1 | FALSE | FAN1 kd1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.7361 | 16.814643859863281 | 0.071731388568878174 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 12 | Amp | #N/A | 0.94880475849037993 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C02 | C2 | 26 | C | 2 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 31 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C02 | C2 | 26 | C | 2 | FALSE | FAN1 kd1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.8767 | 16.814643859863281 | 0.071731388568878174 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 13 | Amp | #N/A | 0.9470626504947609 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C03 | C3 | 27 | C | 3 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C03 | C3 | 27 | C | 3 | FALSE | FAN1 kd1 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.8311 | 16.814643859863281 | 0.071731388568878174 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 12 | Amp | #N/A | 0.95117239733219394 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C04 | C4 | 28 | C | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C04 | C4 | 28 | C | 4 | FALSE | no cDNA | GAPDH | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C05 | C5 | 29 | C | 5 | FALSE | Water only | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y
2023-01-10_105135 FS SB18 FAN1.xls | C05 | C5 | 29 | C | 5 | FALSE | Water only | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | Y | Y | N | N | N | Y
2023-01-10_105135 FS SB18 FAN1.xls | C06 | C6 | 30 | C | 6 | FALSE | FAN1 kd1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.1682 | 19.226728439331055 | 0.053599469363689423 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 16 | Amp | #N/A | 0.93657001353346747 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C06 | C6 | 30 | C | 6 | FALSE | FAN1 kd1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.1674586534500122 | 0.89436870813369751 | 1.523935079574585 | 20.7966 | 20.676441192626953 | 0.10622166097164154 | 1.6283531188964844 | 1.4497140645980835 | 0.15475384891033173 | 0.089347176253795624 | -0.22337150573730469 | TRUE | 0.17551118240021368 | TRUE | 3 | 17 | Amp | #N/A | 0.91166521627160613 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C07 | C7 | 31 | C | 7 | FALSE | FAN1 kd1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.2385 | 19.226728439331055 | 0.053599469363689423 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 16 | Amp | #N/A | 0.91447140867511112 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C07 | C7 | 31 | C | 7 | FALSE | FAN1 kd1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.1674586534500122 | 0.89436870813369751 | 1.523935079574585 | 20.595 | 20.676441192626953 | 0.10622166097164154 | 1.3565464019775391 | 1.4497140645980835 | 0.15475384891033173 | 0.089347176253795624 | -0.22337150573730469 | TRUE | 0.17551118240021368 | TRUE | 3 | 16 | Amp | #N/A | 0.89662304228454459 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C08 | C8 | 32 | C | 8 | FALSE | FAN1 kd1 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.2735 | 19.226728439331055 | 0.053599469363689423 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 16 | Amp | #N/A | 0.90517683392511283 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C08 | C8 | 32 | C | 8 | FALSE | FAN1 kd1 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.1674586534500122 | 0.89436870813369751 | 1.523935079574585 | 20.6377 | 20.676441192626953 | 0.10622166097164154 | 1.3642425537109375 | 1.4497140645980835 | 0.15475384891033173 | 0.089347176253795624 | -0.22337150573730469 | TRUE | 0.17551118240021368 | TRUE | 3 | 17 | Amp | #N/A | 0.88920486494970064 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C09 | C9 | 33 | C | 9 | FALSE | no cDNA | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 26.6152 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 23 | No Amp | #N/A | 0 | N | N | N | Y | Y | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C09 | C9 | 33 | C | 9 | FALSE | no cDNA | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 29 | No Amp | #N/A | 0 | N | N | N | Y | Y | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C10 | C10 | 34 | C | 10 | FALSE | Water only | ATP5B | NTC | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | C10 | C10 | 34 | C | 10 | FALSE | Water only | EIF4A2 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.17551118240021368 | TRUE | 3 | 39 | No Amp | #N/A | 0 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D01 | D1 | 37 | D | 1 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 19 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D01 | D1 | 37 | D | 1 | FALSE | CON2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.9888 | 16.006301879882812 | 0.073805049061775208 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.94173343992975977 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D02 | D2 | 38 | D | 2 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 21 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D02 | D2 | 38 | D | 2 | FALSE | CON2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.9428 | 16.006301879882812 | 0.073805049061775208 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.95326807383591228 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D03 | D3 | 39 | D | 3 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 17 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D03 | D3 | 39 | D | 3 | FALSE | CON2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.0873 | 16.006301879882812 | 0.073805049061775208 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 12 | Amp | #N/A | 0.94196024034104509 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D06 | D6 | 42 | D | 6 | FALSE | CON2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18.0255 | 18.018060684204102 | 0.046464294195175171 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 14 | Amp | #N/A | 0.9126371023609956 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D06 | D6 | 42 | D | 6 | FALSE | CON2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0276705026626587 | 0.85772931575775146 | 1.231282114982605 | 19.6864 | 19.651769638061523 | 0.063756570219993591 | 1.6609077453613281 | 1.6337076425552368 | 0.1049794927239418 | 0.060609940439462662 | -0.039377849549055099 | TRUE | 0.17551118240021368 | TRUE | 3 | 15 | Amp | #N/A | 0.91072582026077997 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D07 | D7 | 43 | D | 7 | FALSE | CON2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.9683 | 18.018060684204102 | 0.046464294195175171 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 14 | Amp | #N/A | 0.90842281557829085 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D07 | D7 | 43 | D | 7 | FALSE | CON2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0276705026626587 | 0.85772931575775146 | 1.231282114982605 | 19.6908 | 19.651769638061523 | 0.063756570219993591 | 1.7224102020263672 | 1.6337076425552368 | 0.1049794927239418 | 0.060609940439462662 | -0.039377849549055099 | TRUE | 0.17551118240021368 | TRUE | 3 | 16 | Amp | #N/A | 0.89947840805173496 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D08 | D8 | 44 | D | 8 | FALSE | CON2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18.0604 | 18.018060684204102 | 0.046464294195175171 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 15 | Amp | #N/A | 0.90261301512691872 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | D08 | D8 | 44 | D | 8 | FALSE | CON2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0276705026626587 | 0.85772931575775146 | 1.231282114982605 | 19.5782 | 19.651769638061523 | 0.063756570219993591 | 1.5178050994873047 | 1.6337076425552368 | 0.1049794927239418 | 0.060609940439462662 | -0.039377849549055099 | TRUE | 0.17551118240021368 | TRUE | 3 | 15 | Amp | #N/A | 0.89104915598801293 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E01 | E1 | 49 | E | 1 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 33 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E01 | E1 | 49 | E | 1 | FALSE | SCR2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.0953 | 16.030059814453125 | 0.058156237006187439 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 12 | Amp | #N/A | 0.95200179598833534 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E02 | E2 | 50 | E | 2 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 28 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E02 | E2 | 50 | E | 2 | FALSE | SCR2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.0113 | 16.030059814453125 | 0.058156237006187439 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.95260590587519001 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E03 | E3 | 51 | E | 3 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 15 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E03 | E3 | 51 | E | 3 | FALSE | SCR2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15.9836 | 16.030059814453125 | 0.058156237006187439 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 11 | Amp | #N/A | 0.95165120451298868 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E06 | E6 | 54 | E | 6 | FALSE | SCR2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.5163 | 17.60345458984375 | 0.14913345873355865 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 15 | Amp | #N/A | 0.90614922493271544 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E06 | E6 | 54 | E | 6 | FALSE | SCR2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0669456720352173 | 0.99075835943222046 | 1.1489917039871216 | 19.1406 | 19.183053970336914 | 0.11591008305549622 | 1.6243572235107422 | 1.5795987844467163 | 0.043025638908147812 | 0.024840863421559334 | -0.093486785888671875 | TRUE | 0.17551118240021368 | TRUE | 3 | 14 | Amp | #N/A | 0.88909627590414197 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E07 | E7 | 55 | E | 7 | FALSE | SCR2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.5184 | 17.60345458984375 | 0.14913345873355865 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 13 | Amp | #N/A | 0.91198050552821097 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E07 | E7 | 55 | E | 7 | FALSE | SCR2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0669456720352173 | 0.99075835943222046 | 1.1489917039871216 | 19.0943 | 19.183053970336914 | 0.11591008305549622 | 1.5758934020996094 | 1.5795987844467163 | 0.043025638908147812 | 0.024840863421559334 | -0.093486785888671875 | TRUE | 0.17551118240021368 | TRUE | 3 | 13 | Amp | #N/A | 0.8867712429009682 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E08 | E8 | 56 | E | 8 | FALSE | SCR2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.7757 | 17.60345458984375 | 0.14913345873355865 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 14 | Amp | #N/A | 0.90153232980658893 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | E08 | E8 | 56 | E | 8 | FALSE | SCR2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.0669456720352173 | 0.99075835943222046 | 1.1489917039871216 | 19.3142 | 19.183053970336914 | 0.11591008305549622 | 1.5385456085205078 | 1.5795987844467163 | 0.043025638908147812 | 0.024840863421559334 | -0.093486785888671875 | TRUE | 0.17551118240021368 | TRUE | 3 | 16 | Amp | #N/A | 0.88983610805651947 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F01 | F1 | 61 | F | 1 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F01 | F1 | 61 | F | 1 | FALSE | FAN1 kd2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.5155 | 17.477178573608398 | 0.056973244994878769 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 13 | Amp | #N/A | 0.94796332235931902 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F02 | F2 | 62 | F | 2 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 19 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F02 | F2 | 62 | F | 2 | FALSE | FAN1 kd2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.5043 | 17.477178573608398 | 0.056973244994878769 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 13 | Amp | #N/A | 0.95277804816855738 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F03 | F3 | 63 | F | 3 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.20000000000000001 | TRUE | 3 | 9 | Amp | #N/A | 0 | Y | Y | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F03 | F3 | 63 | F | 3 | FALSE | FAN1 kd2 | GAPDH | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.4117 | 17.477178573608398 | 0.056973244994878769 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.1209211356568964 | TRUE | 3 | 12 | Amp | #N/A | 0.94436675630301803 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F06 | F6 | 66 | F | 6 | FALSE | FAN1 kd2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.2982 | 20.416471481323242 | 0.23365664482116699 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 17 | Amp | #N/A | 0.90209307203572908 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F06 | F6 | 66 | F | 6 | FALSE | FAN1 kd2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.8993594646453857 | 1.2739993333816528 | 2.83168625831604 | 20.8319 | 21.164041519165039 | 0.29611736536026001 | 0.53370285034179688 | 0.74757260084152222 | 0.23193095624446869 | 0.13390539586544037 | -0.92551296949386597 | TRUE | 0.17551118240021368 | TRUE | 3 | 15 | Amp | #N/A | 0.90268877576375828 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F07 | F7 | 67 | F | 7 | FALSE | FAN1 kd2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.6856 | 20.416471481323242 | 0.23365664482116699 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 15 | Amp | #N/A | 0.8970938883905003 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F07 | F7 | 67 | F | 7 | FALSE | FAN1 kd2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.8993594646453857 | 1.2739993333816528 | 2.83168625831604 | 21.4005 | 21.164041519165039 | 0.29611736536026001 | 0.71491241455078125 | 0.74757260084152222 | 0.23193095624446869 | 0.13390539586544037 | -0.92551296949386597 | TRUE | 0.17551118240021368 | TRUE | 3 | 18 | Amp | #N/A | 0.90513787643334398 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F08 | F8 | 68 | F | 8 | FALSE | FAN1 kd2 | ATP5B | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.2656 | 20.416471481323242 | 0.23365664482116699 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.06821549529204575 | TRUE | 3 | 16 | Amp | #N/A | 0.90953066642558034 | N | N | N | N | N | N | N
2023-01-10_105135 FS SB18 FAN1.xls | F08 | F8 | 68 | F | 8 | FALSE | FAN1 kd2 | EIF4A2 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | 1.8993594646453857 | 1.2739993333816528 | 2.83168625831604 | 21.2597 | 21.164041519165039 | 0.29611736536026001 | 0.99410247802734375 | 0.74757260084152222 | 0.23193095624446869 | 0.13390539586544037 | -0.92551296949386597 | TRUE | 0.17551118240021368 | TRUE | 3 | 16 | Amp | #N/A | 0.91204838735619376 | N | N | N | N | N | N | N
2023-01-10_120839 FS SB18 FAN1 2.xls | A01 | A1 | 1 | A | 1 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.0486 | 24.104227066040039 | 0.077289305627346039 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 18 | Amp | #N/A | 0.95223337098392458 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | A02 | A2 | 2 | A | 2 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.1925 | 24.104227066040039 | 0.077289305627346039 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.96026693748529612 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | A03 | A3 | 3 | A | 3 | FALSE | CON1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.0716 | 24.104227066040039 | 0.077289305627346039 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.9337220925335098 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | A04 | A4 | 4 | A | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 37.7646 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 33 | Inconclusive | #N/A | 0.81250569052322685 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | A05 | A5 | 5 | A | 5 | FALSE | Water only | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 38.5073 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 34 | Inconclusive | #N/A | 0.50585233828036624 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | B01 | B1 | 13 | B | 1 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.4181 | 24.409225463867188 | 0.060918688774108887 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | Amp | #N/A | 0.9526362001999007 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | B02 | B2 | 14 | B | 2 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.3444 | 24.409225463867188 | 0.060918688774108887 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.938828121639951 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | B03 | B3 | 15 | B | 3 | FALSE | SCR1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.4652 | 24.409225463867188 | 0.060918688774108887 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.94013504414987525 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | B04 | B4 | 16 | B | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | No Amp | #N/A | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | B05 | B5 | 17 | B | 5 | FALSE | Water only | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 38.4972 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 34 | Inconclusive | #N/A | 0.49309830336395238 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | C01 | C1 | 25 | C | 1 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 25.7233 | 25.913686752319336 | 0.16484189033508301 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 22 | Amp | #N/A | 0.94890015008268824 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | C02 | C2 | 26 | C | 2 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 26.0083 | 25.913686752319336 | 0.16484189033508301 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | Amp | #N/A | 0.94292325005912003 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | C03 | C3 | 27 | C | 3 | FALSE | FAN1 kd1 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 26.0094 | 25.913686752319336 | 0.16484189033508301 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 21 | Amp | #N/A | 0.94686426123368461 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | C04 | C4 | 28 | C | 4 | FALSE | no cDNA | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 39 | No Amp | #N/A | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | C05 | C5 | 29 | C | 5 | FALSE | Water only | FAN1 | NTC | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 36.925 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 32 | Amp | #N/A | 0.89582216596648589 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | D01 | D1 | 37 | D | 1 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.5214 | 24.525163650512695 | 0.16208156943321228 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | Amp | #N/A | 0.94299305051510451 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | D02 | D2 | 38 | D | 2 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.365 | 24.525163650512695 | 0.16208156943321228 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.95302249014557827 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | D03 | D3 | 39 | D | 3 | FALSE | CON2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.6891 | 24.525163650512695 | 0.16208156943321228 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 21 | Amp | #N/A | 0.95036315551778883 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | E01 | E1 | 49 | E | 1 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 23.7516 | 24.016351699829102 | 0.26994144916534424 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 17 | Amp | #N/A | 0.94585643210945658 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | E02 | E2 | 50 | E | 2 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.0062 | 24.016351699829102 | 0.26994144916534424 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 18 | Amp | #N/A | 0.94641923886891322 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | E03 | E3 | 51 | E | 3 | FALSE | SCR2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.2912 | 24.016351699829102 | 0.26994144916534424 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 19 | Amp | #N/A | 0.94756461770531719 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | F01 | F1 | 61 | F | 1 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 25.8867 | 26.322042465209961 | 0.39921772480010986 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 22 | Amp | #N/A | 0.9532974605718153 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | F02 | F2 | 62 | F | 2 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 26.4084 | 26.322042465209961 | 0.39921772480010986 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | Amp | #N/A | 0.94022144092948878 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023-01-10_120839 FS SB18 FAN1 2.xls | F03 | F3 | 63 | F | 3 | FALSE | FAN1 kd2 | FAN1 | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 26.671 | 26.322042465209961 | 0.39921772480010986 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.18745100000000001 | TRUE | 3 | 20 | Amp | #N/A | 0.93844768022108127 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## outliers
filename | well | exclude | label | sample_id | fs_id | cell_line | cell_type | treatment | calibrator_group | calibrator | reporter | target | ct | tech_rep | outlier_threshold | tech_outlier
2023-01-10_105135 FS SB18 FAN1.xls | A01 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 15.8811 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A02 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 15.7487 | 2 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | A03 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 15.8837 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | 28.5859 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B01 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 15.9743 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B02 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 15.9276 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B03 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 16.052 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C01 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 16.7361 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C02 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 16.8767 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C03 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 16.8311 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | GAPDH | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D01 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 15.9888 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D02 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 15.9428 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D03 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | GAPDH | 16.0873 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E01 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 16.0953 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E02 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 16.0113 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E03 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | GAPDH | 15.9836 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F01 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 17.5155 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F02 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 17.5043 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F03 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | GAPDH | 17.4117 | 3 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | A04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | A01 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.0486 | 1 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | A02 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.1925 | 2 | 1.5 | TRUE
2023-01-10_120839 FS SB18 FAN1 2.xls | A03 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.0716 | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | A04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | 37.7646 | 4 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | A05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | 38.5073 | 4 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | B01 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 24.4181 | 1 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | B02 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 24.3444 | 2 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | B03 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 24.4652 | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | B04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 5 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | B05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | 38.4972 | 5 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | C01 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 25.7233 | 1 | 1.5 | TRUE
2023-01-10_120839 FS SB18 FAN1 2.xls | C02 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 26.0083 | 2 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | C03 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 26.0094 | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | C04 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | #N/A | 6 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | C05 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | FAN1 | 36.925 | 6 | 1.5 | TRUE
2023-01-10_120839 FS SB18 FAN1 2.xls | D01 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.5214 | 1 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | D02 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.365 | 2 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | D03 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | FAN1 | 24.6891 | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | E01 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 23.7516 | 1 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | E02 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 24.0062 | 2 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | E03 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | FAN1 | 24.2912 | 3 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | F01 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 25.8867 | 1 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | F02 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 26.4084 | 2 | 1.5 | FALSE
2023-01-10_120839 FS SB18 FAN1 2.xls | F03 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | FAN1 | 26.671 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A06 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 17.437 | 1 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | A07 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 17.8416 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A08 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 17.8062 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B06 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 17.9565 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B07 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 17.9996 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B08 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 18.0148 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C06 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 19.1682 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C07 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 19.2385 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C08 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 19.2735 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | 26.6152 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | VIC | ATP5B | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D06 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 18.0255 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D07 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 17.9683 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D08 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | VIC | ATP5B | 18.0604 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E06 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 17.5163 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E07 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 17.5184 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E08 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | VIC | ATP5B | 17.7757 | 3 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | F06 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 20.2982 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F07 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 20.6856 | 2 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | F08 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | VIC | ATP5B | 20.2656 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A06 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.1573 | 1 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | A07 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.488 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A08 | #N/A | 2023.02.15_001 / None | 2023.02.15_001 | CON1 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.4589 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | A10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B06 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.2745 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B07 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.5981 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B08 | #N/A | 2023.02.15_002 / Scrambled shRNA | 2023.02.15_002 | SCR1 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.79 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | B10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C06 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 20.7966 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C07 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 20.595 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C08 | #N/A | 2023.02.15_003 / FAN1 shRNA | 2023.02.15_003 | FAN1_1 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 20.6377 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C09 | #N/A | 2023.02.15_007 / NA | 2023.02.15_007 | NC | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | C10 | #N/A | 2023.02.15_008 / NA | 2023.02.15_008 | water | #N/A | #N/A | #N/A | #N/A | #N/A | FAM | EIF4A2 | #N/A | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D06 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.6864 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D07 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.6908 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | D08 | #N/A | 2023.02.15_004 / None | 2023.02.15_004 | CON2 | SB18 | iPSC | None | all | 1 | FAM | EIF4A2 | 19.5782 | 3 | 1.5 | TRUE
2023-01-10_105135 FS SB18 FAN1.xls | E06 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.1406 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E07 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.0943 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | E08 | #N/A | 2023.02.15_005 / Scrambled shRNA | 2023.02.15_005 | SCR2 | SB18 | iPSC | Scrambled shRNA | all | #N/A | FAM | EIF4A2 | 19.3142 | 3 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F06 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 20.8319 | 1 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F07 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 21.4005 | 2 | 1.5 | FALSE
2023-01-10_105135 FS SB18 FAN1.xls | F08 | #N/A | 2023.02.15_006 / FAN1 shRNA | 2023.02.15_006 | FAN1_2 | SB18 | iPSC | FAN1 shRNA | all | #N/A | FAM | EIF4A2 | 21.2597 | 3 | 1.5 | FALSE

## summary
target | sample_id | calibrator_group | total | tech_outliers | exclusions | included | ct | sd
GAPDH | 2023.02.15_001 | all | 3 | 1 | 0 | 2 | 15.8824 | 0.0018599
GAPDH | 2023.02.15_007 | #N/A | 3 | 0 | 0 | 3 | 28.5859 | #N/A
GAPDH | 2023.02.15_008 | #N/A | 3 | 0 | 0 | 3 | #N/A | #N/A
GAPDH | 2023.02.15_002 | all | 3 | 0 | 0 | 3 | 15.9847 | 0.062844
GAPDH | 2023.02.15_003 | all | 3 | 0 | 0 | 3 | 16.8146 | 0.071731
GAPDH | 2023.02.15_004 | all | 3 | 0 | 0 | 3 | 16.0063 | 0.073805
GAPDH | 2023.02.15_005 | all | 3 | 0 | 0 | 3 | 16.0301 | 0.058156
GAPDH | 2023.02.15_006 | all | 3 | 1 | 0 | 2 | 17.5099 | 0.0079668
FAN1 | 2023.02.15_001 | all | 3 | 1 | 0 | 2 | 24.0601 | 0.016224
FAN1 | 2023.02.15_007 | #N/A | 6 | 0 | 0 | 6 | 37.7646 | #N/A
FAN1 | 2023.02.15_008 | #N/A | 6 | 1 | 0 | 5 | 38.5023 | 0.0071562
FAN1 | 2023.02.15_002 | all | 3 | 0 | 0 | 3 | 24.4092 | 0.060919
FAN1 | 2023.02.15_003 | all | 3 | 1 | 0 | 2 | 26.0089 | 0.00077955
FAN1 | 2023.02.15_004 | all | 3 | 0 | 0 | 3 | 24.5252 | 0.16208
FAN1 | 2023.02.15_005 | all | 3 | 0 | 0 | 3 | 24.0164 | 0.26994
FAN1 | 2023.02.15_006 | all | 3 | 0 | 0 | 3 | 26.322 | 0.39922
ATP5B | 2023.02.15_001 | all | 3 | 1 | 0 | 2 | 17.8239 | 0.025057
ATP5B | 2023.02.15_007 | #N/A | 3 | 0 | 0 | 3 | 26.6152 | #N/A
ATP5B | 2023.02.15_008 | #N/A | 3 | 0 | 0 | 3 | #N/A | #N/A
ATP5B | 2023.02.15_002 | all | 3 | 0 | 0 | 3 | 17.9903 | 0.030242
ATP5B | 2023.02.15_003 | all | 3 | 0 | 0 | 3 | 19.2267 | 0.053599
ATP5B | 2023.02.15_004 | all | 3 | 0 | 0 | 3 | 18.0181 | 0.046464
ATP5B | 2023.02.15_005 | all | 3 | 1 | 0 | 2 | 17.5174 | 0.0015416
ATP5B | 2023.02.15_006 | all | 3 | 1 | 0 | 2 | 20.2819 | 0.023088
EIF4A2 | 2023.02.15_001 | all | 3 | 1 | 0 | 2 | 19.4734 | 0.020592
EIF4A2 | 2023.02.15_007 | #N/A | 3 | 0 | 0 | 3 | #N/A | #N/A
EIF4A2 | 2023.02.15_008 | #N/A | 3 | 0 | 0 | 3 | #N/A | #N/A
EIF4A2 | 2023.02.15_002 | all | 3 | 0 | 0 | 3 | 19.5542 | 0.26054
EIF4A2 | 2023.02.15_003 | all | 3 | 0 | 0 | 3 | 20.6764 | 0.10622
EIF4A2 | 2023.02.15_004 | all | 3 | 1 | 0 | 2 | 19.6886 | 0.0031088
EIF4A2 | 2023.02.15_005 | all | 3 | 0 | 0 | 3 | 19.1831 | 0.11591
EIF4A2 | 2023.02.15_006 | all | 3 | 0 | 0 | 3 | 21.164 | 0.29612

## targets
target | goi | hk | worked_nc | worked_sample | failed_nc | failed_sample | hk_included
ATP5B | FALSE | TRUE | 1 | 6 | 1 | 0 | TRUE
EIF4A2 | FALSE | TRUE | 0 | 6 | 2 | 0 | TRUE
FAN1 | TRUE | FALSE | 2 | 6 | 0 | 0 | FALSE
GAPDH | FALSE | TRUE | 1 | 6 | 1 | 0 | TRUE

## relative_expression
sample_id | calibrator_group | analysis_method | calibration_method | calibrator | ct_GAPDH | ct_FAN1 | ct_ATP5B | ct_EIF4A2 | cmct_GAPDH | cmct_FAN1 | cmct_ATP5B | cmct_EIF4A2 | dct_GAPDH | dct_FAN1 | dct_ATP5B | dct_EIF4A2 | twodct_GAPDH | twodct_FAN1 | twodct_ATP5B | twodct_EIF4A2 | geomean_hk | FAN1
2023.02.15_001 | all | Comparative ct (multiple housekeepers) | Default | TRUE | 15.8824 | 24.0601 | 17.8239 | 19.4734 | 15.9443 | 24.2926 | 17.921 | 19.581 | 0.061966 | 0.23253 | 0.097078 | 0.10757 | 1.0439 | 1.1749 | 1.0696 | 1.0774 | 1.0635 | 1.1047
2023.02.15_007 | #N/A | Comparative ct (multiple housekeepers) | Default | FALSE | 28.5859 | 37.7646 | 26.6152 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023.02.15_008 | #N/A | Comparative ct (multiple housekeepers) | Default | FALSE | #N/A | 38.5023 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2023.02.15_002 | all | Comparative ct (multiple housekeepers) | Default | FALSE | 15.9847 | 24.4092 | 17.9903 | 19.5542 | 15.9443 | 24.2926 | 17.921 | 19.581 | -0.040331 | -0.11659 | -0.069299 | 0.026783 | 0.97243 | 0.92236 | 0.9531 | 1.0187 | 0.98104 | 0.94019
2023.02.15_003 | all | Comparative ct (multiple housekeepers) | Default | FALSE | 16.8146 | 26.0089 | 19.2267 | 20.6764 | 15.9443 | 24.2926 | 17.921 | 19.581 | -0.87031 | -1.7162 | -1.3057 | -1.0955 | 0.54703 | 0.30434 | 0.40451 | 0.46799 | 0.4696 | 0.6481
2023.02.15_004 | all | Comparative ct (multiple housekeepers) | Default | TRUE | 16.0063 | 24.5252 | 18.0181 | 19.6886 | 15.9443 | 24.2926 | 17.921 | 19.581 | -0.061966 | -0.23253 | -0.097078 | -0.10757 | 0.95796 | 0.85114 | 0.93492 | 0.92815 | 0.94026 | 0.90522
2023.02.15_005 | all | Comparative ct (multiple housekeepers) | Default | FALSE | 16.0301 | 24.0164 | 17.5174 | 19.1831 | 15.9443 | 24.2926 | 17.921 | 19.581 | -0.085724 | 0.27628 | 0.40363 | 0.39793 | 0.94231 | 1.2111 | 1.3228 | 1.3176 | 1.1799 | 1.0265
2023.02.15_006 | all | Comparative ct (multiple housekeepers) | Default | FALSE | 17.5099 | 26.322 | 20.2819 | 21.164 | 15.9443 | 24.2926 | 17.921 | 19.581 | -1.5656 | -2.0294 | -2.3609 | -1.5831 | 0.33784 | 0.24496 | 0.19467 | 0.33377 | 0.28 | 0.87485

## quantification
sample_id | target | relative_expression
2023.02.15_001 | FAN1 | 1.1047
2023.02.15_007 | FAN1 | #N/A
2023.02.15_008 | FAN1 | #N/A
2023.02.15_002 | FAN1 | 0.94019
2023.02.15_003 | FAN1 | 0.6481
2023.02.15_004 | FAN1 | 0.90522
2023.02.15_005 | FAN1 | 1.0265
2023.02.15_006 | FAN1 | 0.87485

## quantification_clean
sample_id | treatment | target | relative_expression
2023.02.15_001 | None | FAN1 | 1.1047
2023.02.15_002 | Scrambled shRNA | FAN1 | 0.94019
2023.02.15_003 | FAN1 shRNA | FAN1 | 0.6481
2023.02.15_004 | None | FAN1 | 0.90522
2023.02.15_005 | Scrambled shRNA | FAN1 | 1.0265
2023.02.15_006 | FAN1 shRNA | FAN1 | 0.87485

## ttest_relative_expression_FAN1
.y. | group1 | group2 | n1 | n2 | statistic | df | p | p.adj | p.adj.signif | y.position | groups
relative_expression | None | Scrambled shRNA | 2 | 2 | 0.19915 | 1.3614 | 0.868 | 0.868 | ns | 1.1326 | c("None", "Scrambled shRNA")
relative_expression | None | FAN1 shRNA | 2 | 2 | 1.6124 | 1.968 | 0.25 | 0.75 | ns | 1.174 | c("None", "FAN1 shRNA")
relative_expression | Scrambled shRNA | FAN1 shRNA | 2 | 2 | 1.8289 | 1.2835 | 0.274 | 0.75 | ns | 1.2154 | c("Scrambled shRNA", "FAN1 shRNA")