## headers
filename | experiment_file_name | experiment_name | experiment_run_end_time | experiment_type | instrument_name | instrument_serial_number | instrument_type | passive_reference | quantification_cycle_method
LC3012023RTqPCR.xls | D:\Users\INSTR-ADMIN\Documents\Lucy\LC3012023RTqPCR.eds | LC3012023RTqPCR | 2023-01-30 21:24:00 PM GMT | Comparative Cт (ΔΔCт) | 272510542 | 272510542 | QuantStudio™ 5 System | ROX | Ct

## ct
filename | well_n | well_short | omit | sample_name | target_name | task | reporter | quencher | quantity | quantity_mean | quantity_sd | rq | rq_min | rq_max | ct | ct_mean | ct_sd | delta_ct | delta_ct_mean | delta_ct_sd | delta_ct_se | delta_delta_ct | automatic_ct_threshold | ct_threshold | automatic_baseline | baseline_start | baseline_end | amp_status | comments | ct_conf | ctconf | expfail | tholdfail | highsd | noise | drnmin | noamp | outlierrg
LC3012023RTqPCR.xls | 1 | A1 | FALSE | unt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.2512 | 17.277975082397461 | 0.11725977808237076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 12 | Amp | #N/A | 0.98234584803197056 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 1 | A1 | FALSE | unt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 2 | A2 | FALSE | unt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.1764 | 17.277975082397461 | 0.11725977808237076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 11 | Amp | #N/A | 0.98460980386415231 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 2 | A2 | FALSE | unt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 3 | A3 | FALSE | unt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.4063 | 17.277975082397461 | 0.11725977808237076 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 12 | Amp | #N/A | 0.98283982985478557 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 3 | A3 | FALSE | unt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 4 | A4 | FALSE | unt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 4 | A4 | FALSE | unt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.5069 | 20.416481018066406 | 0.086504921317100525 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 17 | Amp | #N/A | 0.99149041908498303 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 5 | A5 | FALSE | unt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 5 | A5 | FALSE | unt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.3345 | 20.416481018066406 | 0.086504921317100525 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 16 | Amp | #N/A | 0.98482465660957319 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 6 | A6 | FALSE | unt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 6 | A6 | FALSE | unt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.408 | 20.416481018066406 | 0.086504921317100525 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 16 | Amp | #N/A | 0.98870293186197211 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 7 | A7 | FALSE | unt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.1802 | 22.188362121582031 | 0.04404762014746666 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 17 | Amp | #N/A | 0.97671035564749298 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 8 | A8 | FALSE | unt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.2359 | 22.188362121582031 | 0.04404762014746666 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 17 | Amp | #N/A | 0.97313578707849624 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 9 | A9 | FALSE | unt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.149 | 22.188362121582031 | 0.04404762014746666 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 17 | Amp | #N/A | 0.96991704984810068 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 10 | A10 | FALSE | unt | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 11 | A11 | FALSE | #N/A | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 11 | A11 | FALSE | #N/A | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 12 | A12 | FALSE | #N/A | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 12 | A12 | FALSE | #N/A | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 13 | B1 | FALSE | wt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.1483 | 17.021467208862305 | 0.15983478724956512 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 10 | Amp | #N/A | 0.98121521360604458 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 13 | B1 | FALSE | wt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 0.010932393372058868 | #N/A | #N/A | 17.0491 | 17.049064636230469 | #N/A | -0.099264144897460938 | -0.099264144897460938 | #N/A | #N/A | 6.5152468681335449 | TRUE | 0.039999999105930328 | TRUE | 3 | 15 | Amp | #N/A | 0.68293092159913593 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 14 | B2 | FALSE | wt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16.8419 | 17.021467208862305 | 0.15983478724956512 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 11 | Amp | #N/A | 0.93662115313610517 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 14 | B2 | FALSE | wt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.049064636230469 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 18 | Inconclusive | #N/A | 0 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 15 | B3 | FALSE | wt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.0741 | 17.021467208862305 | 0.15983478724956512 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 10 | Amp | #N/A | 0.95808877000255321 | N | N | N | N | Y | N | N | N
LC3012023RTqPCR.xls | 15 | B3 | FALSE | wt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.049064636230469 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 10 | Inconclusive | #N/A | 0 | Y | N | Y | N | Y | N | N | N
LC3012023RTqPCR.xls | 16 | B4 | FALSE | wt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 16 | B4 | FALSE | wt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.7659 | 20.558183670043945 | 0.74507820606231689 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 18 | Amp | #N/A | 0.96817812699954631 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 17 | B5 | FALSE | wt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 17 | B5 | FALSE | wt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.7313 | 20.558183670043945 | 0.74507820606231689 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 17 | Amp | #N/A | 0.99066499120073459 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 18 | B6 | FALSE | wt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 10 | No Amp | #N/A | 0 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 18 | B6 | FALSE | wt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 21.1774 | 20.558183670043945 | 0.74507820606231689 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 18 | Amp | #N/A | 0.94107101739830445 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 19 | B7 | FALSE | wt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 21.7179 | 22.178176879882812 | 0.39863941073417664 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 18 | Amp | #N/A | 0.94043766737903967 | N | N | N | N | N | N | N | Y
LC3012023RTqPCR.xls | 20 | B8 | FALSE | wt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.4035 | 22.178176879882812 | 0.39863941073417664 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 19 | Amp | #N/A | 0.95256666654766819 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 21 | B9 | FALSE | wt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.4131 | 22.178176879882812 | 0.39863941073417664 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 19 | Amp | #N/A | 0.94576134089299246 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 22 | B10 | FALSE | wt | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 23 | B11 | FALSE | #N/A | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 23 | B11 | FALSE | #N/A | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 24 | B12 | FALSE | #N/A | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 24 | B12 | FALSE | #N/A | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 25 | C1 | FALSE | cb3 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.9018 | 17.895387649536133 | 0.14177471399307251 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 12 | Amp | #N/A | 0.98327314225531892 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 25 | C1 | FALSE | cb3 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 1 | 3.6376293140978958e-16 | 2749043209928704 | 7.2509 | 11.211650848388672 | 5.6014018058776855 | -10.650952339172363 | -6.6145110130310059 | 5.7083902359008789 | 4.0364413261413574 | 0 | TRUE | 0.039999999105930328 | TRUE | 3 | 5 | Amp | #N/A | 0.75252882938991761 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 26 | C2 | FALSE | cb3 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18.0338 | 17.895387649536133 | 0.14177471399307251 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 14 | Amp | #N/A | 0.98361614348276249 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 26 | C2 | FALSE | cb3 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11.211650848388672 | 5.6014018058776855 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 16 | Inconclusive | #N/A | 0 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 27 | C3 | FALSE | cb3 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17.7505 | 17.895387649536133 | 0.14177471399307251 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 10 | Amp | #N/A | 0.98422658644754502 | N | N | N | N | N | Y | N | N
LC3012023RTqPCR.xls | 27 | C3 | FALSE | cb3 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 1 | 3.6376293140978958e-16 | 2749043209928704 | 15.1724 | 11.211650848388672 | 5.6014018058776855 | -2.5780696868896484 | -6.6145110130310059 | 5.7083902359008789 | 4.0364413261413574 | 0 | TRUE | 0.039999999105930328 | TRUE | 3 | 13 | Amp | #N/A | 0.60044356278267619 | Y | N | Y | Y | N | Y | N | N
LC3012023RTqPCR.xls | 28 | C4 | FALSE | cb3 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 28 | C4 | FALSE | cb3 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.3331 | 21.638723373413086 | 0.71893018484115601 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 17 | Amp | #N/A | 0.92517778913970139 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 29 | C5 | FALSE | cb3 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 29 | C5 | FALSE | cb3 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 21.6856 | 21.638723373413086 | 0.71893018484115601 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 18 | Amp | #N/A | 0.93834781220902008 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 30 | C6 | FALSE | cb3 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 30 | C6 | FALSE | cb3 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20.8975 | 21.638723373413086 | 0.71893018484115601 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 18 | Amp | #N/A | 0.97199109643667247 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 31 | C7 | FALSE | cb3 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 21.9169 | 22.509759902954102 | 0.59301960468292236 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 18 | Amp | #N/A | 0.94675811026259227 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 32 | C8 | FALSE | cb3 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.5093 | 22.509759902954102 | 0.59301960468292236 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 19 | Amp | #N/A | 0.93181009496430678 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 33 | C9 | FALSE | cb3 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 23.103 | 22.509759902954102 | 0.59301960468292236 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 19 | Amp | #N/A | 0.8953544301930757 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 34 | C10 | FALSE | cb3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 35 | C11 | FALSE | #N/A | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 36 | C12 | FALSE | #N/A | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 37 | D1 | FALSE | npt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.4492 | 22.471834182739258 | 0.025190543383359909 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 16 | Amp | #N/A | 0.98542922118414999 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 37 | D1 | FALSE | npt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 38 | D2 | FALSE | npt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.4673 | 22.471834182739258 | 0.025190543383359909 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 16 | Amp | #N/A | 0.98695279921510026 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 38 | D2 | FALSE | npt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 39 | D3 | FALSE | npt | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.499 | 22.471834182739258 | 0.025190543383359909 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 17 | Amp | #N/A | 0.98743049048218989 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 39 | D3 | FALSE | npt | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 40 | D4 | FALSE | npt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 40 | D4 | FALSE | npt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 25.8072 | 25.823156356811523 | 0.022660532966256142 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 22 | Amp | #N/A | 0.98984543536282266 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 41 | D5 | FALSE | npt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 41 | D5 | FALSE | npt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 25.8132 | 25.823156356811523 | 0.022660532966256142 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 22 | Amp | #N/A | 0.99228060801563511 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 42 | D6 | FALSE | npt | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 42 | D6 | FALSE | npt | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 25.8491 | 25.823156356811523 | 0.022660532966256142 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 22 | Amp | #N/A | 0.99106995687125177 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 43 | D7 | FALSE | npt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 27.7573 | 27.714309692382812 | 0.046904582530260086 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 23 | Amp | #N/A | 0.97718975397154273 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 44 | D8 | FALSE | npt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 27.6643 | 27.714309692382812 | 0.046904582530260086 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 23 | Amp | #N/A | 0.98225383426386337 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 45 | D9 | FALSE | npt | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 27.7214 | 27.714309692382812 | 0.046904582530260086 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 23 | Amp | #N/A | 0.98014727588010331 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 46 | D10 | FALSE | npt | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 49 | E1 | FALSE | sum | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.667 | 24.641218185424805 | 0.027778426185250282 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 20 | Amp | #N/A | 0.98648520012917507 | N | N | N | N | Y | N | N | N
LC3012023RTqPCR.xls | 49 | E1 | FALSE | sum | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 695.877685546875 | 50.716072082519531 | 9548.1708984375 | 7.036 | 8.5840177536010742 | 1.4936501979827881 | -17.630939483642578 | -16.057201385498047 | 1.5209778547286987 | 0.87813699245452881 | -9.4426898956298828 | TRUE | 0.039999999105930328 | TRUE | 3 | 5 | Amp | #N/A | 0.90544046732935268 | N | N | Y | Y | Y | N | N | N
LC3012023RTqPCR.xls | 50 | E2 | FALSE | sum | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.6118 | 24.641218185424805 | 0.027778426185250282 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 19 | Amp | #N/A | 0.98904595592146782 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 50 | E2 | FALSE | sum | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 695.877685546875 | 50.716072082519531 | 9548.1708984375 | 10.0166 | 8.5840177536010742 | 1.4936501979827881 | -14.59514045715332 | -16.057201385498047 | 1.5209778547286987 | 0.87813699245452881 | -9.4426898956298828 | TRUE | 0.039999999105930328 | TRUE | 3 | 8 | Amp | #N/A | 0.86185446779400943 | N | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 51 | E3 | FALSE | sum | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.6449 | 24.641218185424805 | 0.027778426185250282 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 19 | Amp | #N/A | 0.98079448160587679 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 51 | E3 | FALSE | sum | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 695.877685546875 | 50.716072082519531 | 9548.1708984375 | 8.6994 | 8.5840177536010742 | 1.4936501979827881 | -15.945522308349609 | -16.057201385498047 | 1.5209778547286987 | 0.87813699245452881 | -9.4426898956298828 | TRUE | 0.039999999105930328 | TRUE | 3 | 7 | Amp | #N/A | 0.79535723750614462 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 52 | E4 | FALSE | sum | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 52 | E4 | FALSE | sum | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.6703 | 28.970001220703125 | 0.28408601880073547 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 22 | Amp | #N/A | 0.94879653497510064 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 53 | E5 | FALSE | sum | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 9 | No Amp | #N/A | 0 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 53 | E5 | FALSE | sum | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 29.0043 | 28.970001220703125 | 0.28408601880073547 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 25 | Amp | #N/A | 0.90462301185791172 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 54 | E6 | FALSE | sum | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 54 | E6 | FALSE | sum | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 29.2354 | 28.970001220703125 | 0.28408601880073547 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 25 | Amp | #N/A | 0.8996369919615731 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 55 | E7 | FALSE | sum | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 30.045 | 30.173192977905273 | 0.11513449996709824 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 25 | Amp | #N/A | 0.92284241857932381 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 56 | E8 | FALSE | sum | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 30.2069 | 30.173192977905273 | 0.11513449996709824 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 25 | Amp | #N/A | 0.92575951041758697 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 57 | E9 | FALSE | sum | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 30.2677 | 30.173192977905273 | 0.11513449996709824 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 26 | Amp | #N/A | 0.8946628167334485 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 58 | E10 | FALSE | sum | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 61 | F1 | FALSE | gdj | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18.8157 | 19.062822341918945 | 0.23551638424396515 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 14 | Amp | #N/A | 0.98062802667465898 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 61 | F1 | FALSE | gdj | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 32.634838104248047 | 0.0033236360177397728 | 320442.0625 | 6.1292 | 7.4073753356933594 | 1.8076416254043579 | -12.686544418334961 | -11.642851829528809 | 1.4760031700134277 | 1.043691873550415 | -5.0283412933349609 | TRUE | 0.039999999105930328 | TRUE | 3 | 4 | Amp | #N/A | 0.60686814312508719 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 62 | F2 | FALSE | gdj | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.088 | 19.062822341918945 | 0.23551638424396515 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 14 | Amp | #N/A | 0.98573158373118974 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 62 | F2 | FALSE | gdj | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7.4073753356933594 | 1.8076416254043579 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 63 | F3 | FALSE | gdj | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19.2847 | 19.062822341918945 | 0.23551638424396515 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 14 | Amp | #N/A | 0.97287417414747346 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 63 | F3 | FALSE | gdj | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | 32.634838104248047 | 0.0033236360177397728 | 320442.0625 | 8.6856 | 7.4073753356933594 | 1.8076416254043579 | -10.599160194396973 | -11.642851829528809 | 1.4760031700134277 | 1.043691873550415 | -5.0283412933349609 | TRUE | 0.039999999105930328 | TRUE | 3 | 7 | Inconclusive | #N/A | 0.80121603768178939 | N | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 64 | F4 | FALSE | gdj | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 64 | F4 | FALSE | gdj | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 23.9341 | 23.264823913574219 | 0.60085791349411011 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 20 | Amp | #N/A | 0.91104725275733822 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 65 | F5 | FALSE | gdj | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 65 | F5 | FALSE | gdj | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 23.0886 | 23.264823913574219 | 0.60085791349411011 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 18 | Amp | #N/A | 0.92078597320659294 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 66 | F6 | FALSE | gdj | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 10 | No Amp | #N/A | 0 | Y | N | Y | N | N | N | N | N
LC3012023RTqPCR.xls | 66 | F6 | FALSE | gdj | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 22.7718 | 23.264823913574219 | 0.60085791349411011 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 19 | Amp | #N/A | 0.93801094001684726 | N | N | N | Y | N | N | N | N
LC3012023RTqPCR.xls | 67 | F7 | FALSE | gdj | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.494 | 24.204397201538086 | 0.32086837291717529 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 20 | Amp | #N/A | 0.91179201575621005 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 68 | F8 | FALSE | gdj | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 23.8595 | 24.204397201538086 | 0.32086837291717529 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 20 | Amp | #N/A | 0.96681102967431687 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 69 | F9 | FALSE | gdj | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 24.2597 | 24.204397201538086 | 0.32086837291717529 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 20 | Amp | #N/A | 0.84375546666143508 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 70 | F10 | FALSE | gdj | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 73 | G1 | FALSE | cnt1 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.495 | 28.556320190429688 | 0.14383271336555481 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 22 | Amp | #N/A | 0.97478362455221634 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 73 | G1 | FALSE | cnt1 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 74 | G2 | FALSE | cnt1 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.7207 | 28.556320190429688 | 0.14383271336555481 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 23 | Amp | #N/A | 0.98174234637316282 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 74 | G2 | FALSE | cnt1 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 75 | G3 | FALSE | cnt1 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.4533 | 28.556320190429688 | 0.14383271336555481 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 22 | Amp | #N/A | 0.97747528866440281 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 75 | G3 | FALSE | cnt1 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 76 | G4 | FALSE | cnt1 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 38.0638 | 36.628246307373047 | 1.3181917667388916 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 34 | Amp | #N/A | 0.34771234580986921 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 76 | G4 | FALSE | cnt1 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 77 | G5 | FALSE | cnt1 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 36.3487 | 36.628246307373047 | 1.3181917667388916 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 33 | Amp | #N/A | 0.83104553261116476 | N | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 77 | G5 | FALSE | cnt1 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 78 | G6 | FALSE | cnt1 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 35.4722 | 36.628246307373047 | 1.3181917667388916 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 32 | Amp | #N/A | 0.88473335715756996 | N | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 78 | G6 | FALSE | cnt1 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 79 | G7 | FALSE | cnt1 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 80 | G8 | FALSE | cnt1 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 81 | G9 | FALSE | cnt1 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 82 | G10 | FALSE | cnt1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 85 | H1 | FALSE | cntr2 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.1873 | 28.344491958618164 | 0.13615867495536804 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 23 | Amp | #N/A | 0.97934129011445459 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 85 | H1 | FALSE | cntr2 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 86 | H2 | FALSE | cntr2 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.4262 | 28.344491958618164 | 0.13615867495536804 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 22 | Amp | #N/A | 0.97986616183883379 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 86 | H2 | FALSE | cntr2 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 87 | H3 | FALSE | cntr2 | actb | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 28.42 | 28.344491958618164 | 0.13615867495536804 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.29111242860634146 | TRUE | 3 | 23 | Amp | #N/A | 0.97888990907479501 | N | N | N | N | N | N | N | N
LC3012023RTqPCR.xls | 87 | H3 | FALSE | cntr2 | gfp | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | Y | N | N | N | Y | N
LC3012023RTqPCR.xls | 88 | H4 | FALSE | cntr2 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 37.2171 | 36.795345306396484 | 0.53861784934997559 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 34 | Amp | #N/A | 0.77542809453676442 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 88 | H4 | FALSE | cntr2 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 89 | H5 | FALSE | cntr2 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 36.9803 | 36.795345306396484 | 0.53861784934997559 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 34 | Amp | #N/A | 0.76305050757975823 | Y | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 89 | H5 | FALSE | cntr2 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 90 | H6 | FALSE | cntr2 | idtgfp | UNKNOWN | FAM | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 36.1886 | 36.795345306396484 | 0.53861784934997559 | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.039999999105930328 | TRUE | 3 | 33 | Amp | #N/A | 0.85611683111111103 | N | N | Y | Y | N | N | N | N
LC3012023RTqPCR.xls | 90 | H6 | FALSE | cntr2 | ubc | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.068647228369372412 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 91 | H7 | FALSE | cntr2 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 92 | H8 | FALSE | cntr2 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 93 | H9 | FALSE | cntr2 | atp5b | UNKNOWN | VIC | NFQ-MGB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | 0.13862608797100054 | TRUE | 3 | 39 | No Amp | #N/A | 0 | Y | Y | N | N | N | N | Y | N
LC3012023RTqPCR.xls | 94 | H10 | FALSE | cntr2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | N/A | #N/A | #N/A | N | N | N | N | N | N | N | N

## outliers
filename | well_short | exclude | sample_id | lc_id | cell_line | treatment | calibrator | reporter | target | ct | tech_rep | outlier_threshold | outlier
LC3012023RTqPCR.xls | A1 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | actb | 17.2512 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A2 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | actb | 17.1764 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | A3 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | actb | 17.4063 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A11 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | FAM | actb | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A12 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | FAM | actb | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B1 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | actb | 17.1483 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B2 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | actb | 16.8419 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B3 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | actb | 17.0741 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | C1 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | actb | 17.9018 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C2 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | actb | 18.0338 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C3 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | actb | 17.7505 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | D1 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | actb | 22.4492 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | D2 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | actb | 22.4673 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D3 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | actb | 22.499 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | E1 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | actb | 24.667 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | E2 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | actb | 24.6118 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | E3 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | actb | 24.6449 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | F1 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | actb | 18.8157 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | F2 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | actb | 19.088 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | F3 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | actb | 19.2847 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | G1 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | actb | 28.495 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | G2 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | actb | 28.7207 | 2 | 1.5 | TRUE
LC3012023RTqPCR.xls | G3 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | actb | 28.4533 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | H1 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | actb | 28.1873 | 1 | 1.5 | TRUE
LC3012023RTqPCR.xls | H2 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | actb | 28.4262 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | H3 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | actb | 28.42 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A1 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | gfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A2 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | A3 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | gfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A11 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | gfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A12 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B1 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | gfp | 17.0491 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B2 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B3 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | gfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | C1 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | gfp | 7.2509 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C2 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C3 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | gfp | 15.1724 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | D1 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | gfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | D2 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D3 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | gfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | E1 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | gfp | 7.036 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | E2 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | gfp | 10.0166 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | E3 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | gfp | 8.6994 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | F1 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | gfp | 6.1292 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | F2 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | F3 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | gfp | 8.6856 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | G1 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | gfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | G2 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | G3 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | gfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | H1 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | gfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | H2 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | gfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | H3 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | gfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A4 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A5 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | A6 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | B4 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B5 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B6 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | B11 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B12 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C4 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C5 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C6 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | D4 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | D5 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D6 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | E4 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | E5 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | E6 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | F4 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | idtgfp | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | F5 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | idtgfp | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | F6 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | FAM | idtgfp | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | G4 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | idtgfp | 38.0638 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | G5 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | idtgfp | 36.3487 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | G6 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | FAM | idtgfp | 35.4722 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | H4 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | idtgfp | 37.2171 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | H5 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | idtgfp | 36.9803 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | H6 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | FAM | idtgfp | 36.1886 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A4 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | ubc | 20.5069 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A5 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | ubc | 20.3345 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | A6 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | ubc | 20.408 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | B4 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | ubc | 20.7659 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B5 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | ubc | 19.7313 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B6 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | ubc | 21.1774 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | B11 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | ubc | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | B12 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | ubc | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C4 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | ubc | 22.3331 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C5 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | ubc | 21.6856 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C6 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | ubc | 20.8975 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | D4 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | ubc | 25.8072 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | D5 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | ubc | 25.8132 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D6 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | ubc | 25.8491 | 3 | 1.5 | TRUE
LC3012023RTqPCR.xls | E4 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | ubc | 28.6703 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | E5 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | ubc | 29.0043 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | E6 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | ubc | 29.2354 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | F4 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | ubc | 23.9341 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | F5 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | ubc | 23.0886 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | F6 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | ubc | 22.7718 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | G4 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | ubc | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | G5 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | ubc | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | G6 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | ubc | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | H4 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | ubc | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | H5 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | ubc | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | H6 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | ubc | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | A7 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | atp5b | 22.1802 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | A8 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | atp5b | 22.2359 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | A9 | #N/A | 2023.02.17_001 | UN-T | U20S | Untransduced | #N/A | VIC | atp5b | 22.149 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | B7 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | atp5b | 21.7179 | 1 | 1.5 | TRUE
LC3012023RTqPCR.xls | B8 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | atp5b | 22.4035 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | B9 | #N/A | 2023.02.17_002 | HTT 118Q unedited | U20S | Unedited | 1 | VIC | atp5b | 22.4131 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | C7 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | atp5b | 21.9169 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C8 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | atp5b | 22.5093 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | C9 | #N/A | 2023.02.17_003 | CB3 | U20S | Partial promoter deletion | #N/A | VIC | atp5b | 23.103 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | C11 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | atp5b | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | C12 | #N/A | 2023.02.17_009 | NC | #N/A | #N/A | #N/A | VIC | atp5b | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D7 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | atp5b | 27.7573 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | D8 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | atp5b | 27.6643 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | D9 | #N/A | 2023.02.17_004 | NPT | U20S | Full promoter deletion + ATG | #N/A | VIC | atp5b | 27.7214 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | E7 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | atp5b | 30.045 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | E8 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | atp5b | 30.2069 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | E9 | #N/A | 2023.02.17_005 | SUM | U20S | ATG mutation | #N/A | VIC | atp5b | 30.2677 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | F7 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | atp5b | 24.494 | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | F8 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | atp5b | 23.8595 | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | F9 | #N/A | 2023.02.17_006 | GDJ | U20S | Full promoter deletion | #N/A | VIC | atp5b | 24.2597 | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | G7 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | atp5b | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | G8 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | atp5b | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | G9 | #N/A | 2023.02.17_007 | CONTROL DNA 1 (+) | U20S | Control 1 | #N/A | VIC | atp5b | #N/A | 3 | 1.5 | FALSE
LC3012023RTqPCR.xls | H7 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | atp5b | #N/A | 1 | 1.5 | FALSE
LC3012023RTqPCR.xls | H8 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | atp5b | #N/A | 2 | 1.5 | FALSE
LC3012023RTqPCR.xls | H9 | #N/A | 2023.02.17_008 | CONTROL DNA 2 (+) | U20S | Control 2 | #N/A | VIC | atp5b | #N/A | 3 | 1.5 | FALSE

## summary
target | lc_id | total | outliers | exclusions | included | ct | sd
actb | UN-T | 3 | 0 | 0 | 3 | 17.278 | 0.11726
actb | NC | 2 | 0 | 0 | 2 | #N/A | #N/A
actb | HTT 118Q unedited | 3 | 0 | 0 | 3 | 17.0215 | 0.15983
actb | CB3 | 3 | 0 | 0 | 3 | 17.8954 | 0.14177
actb | NPT | 3 | 0 | 0 | 3 | 22.4718 | 0.025191
actb | SUM | 3 | 0 | 0 | 3 | 24.6412 | 0.027778
actb | GDJ | 3 | 0 | 0 | 3 | 19.0628 | 0.23552
actb | CONTROL DNA 1 (+) | 3 | 1 | 0 | 2 | 28.4742 | 0.029427
actb | CONTROL DNA 2 (+) | 3 | 1 | 0 | 2 | 28.4231 | 0.0043671
gfp | UN-T | 3 | 0 | 0 | 3 | #N/A | #N/A
gfp | NC | 2 | 0 | 0 | 2 | #N/A | #N/A
gfp | HTT 118Q unedited | 3 | 0 | 0 | 3 | 17.0491 | #N/A
gfp | CB3 | 3 | 0 | 0 | 3 | 11.2117 | 5.6014
gfp | NPT | 3 | 0 | 0 | 3 | #N/A | #N/A
gfp | SUM | 3 | 0 | 0 | 3 | 8.584 | 1.4937
gfp | GDJ | 3 | 0 | 0 | 3 | 7.4074 | 1.8076
gfp | CONTROL DNA 1 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A
gfp | CONTROL DNA 2 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | UN-T | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | NC | 2 | 0 | 0 | 2 | #N/A | #N/A
idtgfp | HTT 118Q unedited | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | CB3 | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | NPT | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | SUM | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | GDJ | 3 | 0 | 0 | 3 | #N/A | #N/A
idtgfp | CONTROL DNA 1 (+) | 3 | 0 | 0 | 3 | 36.6282 | 1.3182
idtgfp | CONTROL DNA 2 (+) | 3 | 0 | 0 | 3 | 36.7953 | 0.53862
ubc | UN-T | 3 | 0 | 0 | 3 | 20.4165 | 0.086505
ubc | NC | 2 | 0 | 0 | 2 | #N/A | #N/A
ubc | HTT 118Q unedited | 3 | 0 | 0 | 3 | 20.5582 | 0.74508
ubc | CB3 | 3 | 0 | 0 | 3 | 21.6387 | 0.71893
ubc | NPT | 3 | 1 | 0 | 2 | 25.8102 | 0.0042862
ubc | SUM | 3 | 0 | 0 | 3 | 28.97 | 0.28409
ubc | GDJ | 3 | 0 | 0 | 3 | 23.2648 | 0.60086
ubc | CONTROL DNA 1 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A
ubc | CONTROL DNA 2 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A
atp5b | UN-T | 3 | 0 | 0 | 3 | 22.1884 | 0.044048
atp5b | NC | 2 | 0 | 0 | 2 | #N/A | #N/A
atp5b | HTT 118Q unedited | 3 | 1 | 0 | 2 | 22.4083 | 0.0068015
atp5b | CB3 | 3 | 0 | 0 | 3 | 22.5098 | 0.59302
atp5b | NPT | 3 | 0 | 0 | 3 | 27.7143 | 0.046905
atp5b | SUM | 3 | 0 | 0 | 3 | 30.1732 | 0.11513
atp5b | GDJ | 3 | 0 | 0 | 3 | 24.2044 | 0.32087
atp5b | CONTROL DNA 1 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A
atp5b | CONTROL DNA 2 (+) | 3 | 0 | 0 | 3 | #N/A | #N/A

## targets
target | goi | hk | worked_nc | worked_sample | failed_nc | failed_sample | hk_included
actb | FALSE | TRUE | 0 | 8 | 1 | 0 | TRUE
atp5b | FALSE | TRUE | 0 | 6 | 1 | 2 | FALSE
gfp | TRUE | FALSE | 0 | 4 | 1 | 4 | FALSE
idtgfp | TRUE | FALSE | 0 | 2 | 1 | 6 | FALSE
ubc | FALSE | TRUE | 0 | 6 | 1 | 2 | FALSE

## relative_expression
lc_id | analysis_method | calibration_method | calibrator | ct_actb | ct_gfp | ct_idtgfp | ct_ubc | ct_atp5b | cmct_actb | cmct_gfp | cmct_idtgfp | cmct_ubc | cmct_atp5b | dct_actb | dct_gfp | dct_idtgfp | dct_ubc | dct_atp5b | twodct_actb | twodct_gfp | twodct_idtgfp | twodct_ubc | twodct_atp5b | geomean_hk | gfp | idtgfp
UN-T | Comparative ct (multiple housekeepers) | Default | FALSE | 17.278 | #N/A | #N/A | 20.4165 | 22.1884 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -0.25651 | #N/A | #N/A | 0.1417 | 0.21995 | 0.83711 | #N/A | #N/A | 1.1032 | 1.1647 | 0.83711 | #N/A | #N/A
NC | Comparative ct (multiple housekeepers) | Default | FALSE | #N/A | #N/A | #N/A | #N/A | #N/A | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
HTT 118Q unedited | Comparative ct (multiple housekeepers) | Default | TRUE | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | 0 | 0 | #N/A | 0 | 0 | 1 | 1 | #N/A | 1 | 1 | 1 | 1 | #N/A
CB3 | Comparative ct (multiple housekeepers) | Default | FALSE | 17.8954 | 11.2117 | #N/A | 21.6387 | 22.5098 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -0.87392 | 5.8374 | #N/A | -1.0805 | -0.10145 | 0.54566 | 57.179 | #N/A | 0.47285 | 0.9321 | 0.54566 | 104.7885 | #N/A
NPT | Comparative ct (multiple housekeepers) | Default | FALSE | 22.4718 | #N/A | #N/A | 25.8102 | 27.7143 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -5.4504 | #N/A | #N/A | -5.252 | -5.306 | 0.02287 | #N/A | #N/A | 0.026242 | 0.025278 | 0.02287 | #N/A | #N/A
SUM | Comparative ct (multiple housekeepers) | Default | FALSE | 24.6412 | 8.584 | #N/A | 28.97 | 30.1732 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -7.6198 | 8.465 | #N/A | -8.4118 | -7.7649 | 0.0050842 | 353.3727 | #N/A | 0.0029362 | 0.0045977 | 0.0050842 | 69503.6076 | #N/A
GDJ | Comparative ct (multiple housekeepers) | Default | FALSE | 19.0628 | 7.4074 | #N/A | 23.2648 | 24.2044 | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -2.0414 | 9.6417 | #N/A | -2.7066 | -1.7961 | 0.24294 | 798.7995 | #N/A | 0.15319 | 0.28796 | 0.24294 | 3288.12 | #N/A
CONTROL DNA 1 (+) | Comparative ct (multiple housekeepers) | Default | FALSE | 28.4742 | #N/A | 36.6282 | #N/A | #N/A | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -11.4527 | #N/A | #N/A | #N/A | #N/A | 0.00035678 | #N/A | #N/A | #N/A | #N/A | 0.00035678 | #N/A | #N/A
CONTROL DNA 2 (+) | Comparative ct (multiple housekeepers) | Default | FALSE | 28.4231 | #N/A | 36.7953 | #N/A | #N/A | 17.0215 | 17.0491 | #N/A | 20.5582 | 22.4083 | -11.4016 | #N/A | #N/A | #N/A | #N/A | 0.00036963 | #N/A | #N/A | #N/A | #N/A | 0.00036963 | #N/A | #N/A